lasse I GU10 lampholder with VDE certificate 
·         2x0,75*10CM H05S-K 300/500V 180ºC with VDE certificate 
·         Push-In terminal 0.5-2.5mm2 with VDE certificate 
·         Plate with 100mm length 
·         Packed in individual Bags inside double corrugated cartons with 200pcs each