|  | Number Code | picture | Dimension (mm) |  | Quantity (PCS) |
| --- | --- | --- | --- | --- | --- |
| 1 | L 101 |  | 1548x484x90 Sheet steel, metallic grey finish Ceiling fitter, recessed mounted | T 16 3*80w IP 20 Class I | 14 |
| 2 | L102.1 |  | 1488x140x63 Sheet steel housing, rectangular cross section and faces of steel Colour: white aluminium | T16(T5)*2*49W IP20 Class I Flourescent tube | 8 |
| 3 | L102.2 |  | 1488x140x63 Sheet steel housing, rectangular cross section and faces of steel Colour: white aluminium | T16(T5)*2*80W IP20 Class I Flourescent tube | 89 |
| 4 | L102.3 |  | 1488x140x63 Sheet steel housing, rectangular cross section and faces of steel Colour: white aluminium | T16(T5)*1*49W IP20 Class I Flourescent tube | 1 |
| 5 | L103 |  | 353x353x58mm Sheet steel, white finish | TC-L 2x26W EIB 1...10V IP 20, class I | 251 |
| 6 | L104 |  | 1550x156x70 Polycarbonate housing, injection-molded, translucent with patented labyrinth profile, without additional sealing( aging-resistant), two external fastening clips of V2A displaced to adjust to drill hole, fastening of diffuser without clips, shock-resistance | T16(T5)*2*49W IP 65 Class I | 186 |
| 7 | L 105 |  |  |  | 6 |
| 8 | L106 |  | 1550x156x70 Polycarbonate housing, injection-molded, translucent with patented labyrinth profile, without additional sealing ( aging-resistant), two external fastenning clips of V2A displaceble to adjust to drill hole, fastening of diffuser without clips, shock –resistance > 6Nm | T16(T5)*1*80W Glasfibre reinforced polyester Grey finish IP65 Class I | 24 |
| 9 | L107 |  | 1548x309x48+5 Polymer, white, twin almp, corrosion resistant, acid and alkali resistant Shallow shape with suspended lamp diffuser, PMMA clear, inside ribbed, all- round sealed, with internal reflector mirror finish, wide beam Stainless steel | T16*2*80W Sheet steel Metallic grey finish IP 20 Class I | 160 |
| 10 | L 109 |  | 1570x106x88 Light control for luminaire control and other stations according to customer request. Control panel pre- programmed, for complex systems, can be extended any time | T16(T5)*1*80W Sheet steel Metallic grey finish IP50 Class I | 1615 |
| 11 | L 109.1 |  |  |  |  |
| 8 | L 110 |  | D: 236,H: 220 High specular facetted wall washing reflector made from anodised aluminium and metallised polycarbonate- matt safety glass Die cast aluminium body | 1 HIT-DE-CE/150W Ip 20 Class I | 12 |
| 9 | L 111 |  | D: 254,H: 110 Aluminium reflector, bottom optics with quick coupling via anticlockwise turn and antivibration clip to prevent accidental uncoupling, diecast aluminium body | TC-TE 2*32W Compact fluorescent lamps IP 20, class II |  |
| 10 | L 112 |  | D: 244,H: 202 Metallised polycarbonate reflector F marking- aluminium | TC-TEL 2x26/32W Compact flourescent lamps IP 23 Class I | 8 |
| 11 | L 113.1 |  | D: 400,H: 380 Ceiling installation by means of metal module and 2m steel cable methacrylate | 1*42W Compact flourescent lamp IP 20 Class I | 24 |
| 12 | L 113.2 |  | D: 400 H: 380 Ceiling installation by means of metal module and 2m steel cable methacrylate | Compac 1*26W IP 20 Class I | 8 |
| 13 | L 114 |  | 636x43x108 | Compac 30W IP40,Class I Aluminium extrusion, with die-cast aluminium end pieces and anti-glare, adjustable, perforated steel sheet hood. White or silver metallic | 214 |
| 14 | L 115.0 L 115.1 L115.2 |  | diameter=230, ceiling cut out=212, recessed deth=190 | 2x TC TEL 26W 2xTC TEL 42W 1x TC TEL 26W IP 23 | 49,43,48 |
| 15 | L 116 |  | Size 3 | 2x TC-D 18W | 28 |
|  | L 117 |  | Diameter 400mm, height: 170mm Steel, glass tranparency 1340 lm | Ip 20, class I | 8 |
| 16 | L 118 |  | 740x200x130 | Flourescent T8*2*18W | 509 |