|  | Picture | Material & Characteristic |  |
| --- | --- | --- | --- |
| XHLD 10 |  | * Innovative modern design, 2 device of body made by high stock esistar and high pressure cast aluminium . * High pure aluminium posistive pole reflection, high afficient reflection. * Hear recessing, materials of high transparent toughened glass good transparency, high intensity. * inside sillicon robber alright ring, perfect ant- dust and anti- water performance IP 65 * 14 kinds of fixing ways, meet different light distribution demandsin ciffirenent aroas. * fixing caliber D60-70mm, fixing height 8-12m | Bulb: HPS 150W- 250W- 400W E 40 220-230V/50Hz Poer factor: >0.85 |
| XHTY 03 |  | * main body by die -cast aluminium alloy, outsie disposal with anticorrosive static electricity plastic – spur, perdurable. * reflective board of macromolecule compound material, with good weather fastness, perfect mechanical intensity bow compass, good transparency, high intensity * Match high quality steel fixed frame for using out of lamp – chimney * Convenient for opening and changing of aluminant and repairing Fix caliber: 60-90mm Fixing height: 3-4m | Bulb: HPS 250W Base: E40 Voltage: 220-230V/50hz Power factor: > 0.85 |
| XHTY 04 |  | *main body cast by aluminium alloy, outsie disposal with anticorrosive static electricity plastic – spur, perdurable * Fence reflective mask made by high quality aluminium, butter fly shaped match light with elaborate design, lessen unnecessary lighting solution. * adopt high intensity transparent mask, high transparency IP 55 * convenient for opening, changing of iluminant and repairing * fixing caliber 60-100mm * fixing height : 3-4m | Bulb: HPS 70W E 40 220-230V/50hz Power factor: > 0.85 |

Notes:

- Please quotation contains: pole and without pole